## 1、Measurement
First, adjust the measurement interface, then adjust the data reading interface.
Measurement | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8--9 | 10--13 | 14--17 | 18 | 19-22 | 23-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | Measurement Mode | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8--9 | 10--13 | 14--17 | 18 | 19-22 | 23-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | Success Status | Measurement Mode | Starting Wavelength | Number of Wavelengths | Wavelength Interval | UV Status | Aperture | Temperature | Humidity | Measurement Failure Code | Aperture | 0x00 | 0xff | Checksum
|  |  |  | Measurement Mode=0x00：SCI | Measurement Mode=0x00：SCI | ex： 36 represents 360nm 40 represents 400nm | ex: 31 represents 31个 | ex: 10 represents 10nm | 0:UV included | short | float | float |  | float
|  | 2: Measurement Mode=0x01：SCE; 3: Measurement Mode=0x01：SCE; 7: 1:UV400 cutoff | Need to divide the short value by 100 to convert to float |  |  | 0x01:Measurement Failed
|  | 2: Measurement Mode=0x02：SCI+SCE; 3: Measurement Mode=0x02：SCI+SCE; 7: 2:UV420 cutoff | 0xffff:This field is invalid | 0xffffffff:This field is invalid | 0xffffffff:This field is invalid | 0x02:Calibration required | 0xffffffff:This field is invalid
|  | 2: 0x09:Measurement Successful; 7: 3:UV460 cutoff |  |  |  | 0x03:Measurement timeout
|  | 2: 0xff:Measurement Failed; 7: 0xff:This field is invalid |  |  |  | 0x04:Hardware error
Reading one set of reflectance data requires multiple transmissions to complete. Each transmission retrieves 12 data points, requiring a total of 4 transmissions.
Read SCI data
Read SCI data（1-12） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x10 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x10 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCI data（13-24） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x11 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x11 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCI data（25-36） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x12 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x12 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCI data（37-48） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x13 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x13 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCE data
Read SCE data（1-12） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x20 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x20 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCE data（13-24） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x21 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x21 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCE data（25-36） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x22 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x22 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum
Read SCE data（37-48） | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| PC to Instrument | 0xbb | 0x01 | 0x23 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6-53 | 54-57 | 58 | 59
| Instrument to PC | 0xbb | 0x01 | 0x23 | 0x00 | 0x00 | 0x00 | 12 float data points | 0x00 | 0xff | Checksum

## 2、Calibration
Reflectance: Black calibration Transmittance: 0% | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| PC to Instrument | 0xbb | 0x10 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| Instrument to PC | 0xbb | 0x10 | 0x00 | 0x00 | 0x00 | 0x00 | Calibration successful/failed | 0x00 | 0xff | Checksum
0：Failed 1：Successful
Reflectance: White calibration Transmittance: 0% | Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| PC to Instrument | 0xbb | 0x11 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7-57 | 58 | 59
| Instrument to PC | 0xbb | 0x11 | 0x00 | 0x00 | 0x00 | 0x00 | Calibration successful/failed | 0x00 | 0xff | Checksum
0：Failed 1：Successful

## 3、Get instrument information
Read instrument serial number | Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| PC to Instrument | 0xbb | 0x18 | 0x00 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| Instrument to PC | 0xbb | 0x18 | 0x00 | 0x00 | Serial number | 0x00 | 0xff | Checksum
Ends when '/0' (0x00) is encountered
Read instrument model | Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 |  |  | 58 | 59
| PC to Instrument | 0xbb | 0x18 | 0x01 | 0x00 | 0x00 | 0x00 |  |  | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 54-55 | 56-57 | 58 | 59
| Instrument to PC | 0xbb | 0x18 | 0x01 | 0x00 | Instrument model | 0x00 | Instrument code | 0x00 | 0xff | Checksum
[6 empty] | Ends when '/0' (0x00) is encountered |  | unsigned short
Read software version | Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| PC to Instrument | 0xbb | 0x18 | 0x02 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| Instrument to PC | 0xbb | 0x18 | 0x02 | 0x00 | Software version | 0x00 | 0xff | Checksum
[6 empty] | Ends when '/0' (0x00) is encountered |  | unsigned short
Read Hardware version | Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| PC to Instrument | 0xbb | 0x18 | 0x03 | 0x00 | 0x00 | 0x00 | 0xff | Checksum
| Byte number | 0 | 1 | 2 | 3--4 | 5-34 | 35-57 | 58 | 59
| Instrument to PC | 0xbb | 0x18 | 0x03 | 0x00 | Hardware version | 0x00 | 0xff | Checksum
Ends when '/0' (0x00) is encountered